## Slide 1
3D Electron diffraction
Emma V. Beale
Post-doctoral Research Associate VMXm beamline
Diamond Light Source Ltd., U.K.

## Slide 2
Tau peptide
Lysozyme
TGF-βm:TβRII
Xylanase
Thaumatin
Trypsin
Proteinase K
Thermolysin
Crystals
Fragments
Cruz et al. 2017. Nat. Methods, 14(4):399-402
Clabbers et al. 2017. Acta D, 73(9):738-748
Gonen et al. 2010. JMB, 342(4):1337-1345
Radiation source | PDB (MX) | CSD (SX)
X-ray | >140,000 | >1,000,000
Neutron | 161 | 1,500
Electron | 111 | ~10
Table courtesy of Tim Gruene

## Slide 3: Electron diffraction from 3D protein crystals
The benefits of using electrons
Sample preparation
Microscope setup and practical considerations
Research: Focused ion beam milling of crystals

## Slide 4
Adapted from Clabbers and Abrahams 2018. Crystallography Reviews, 24(3):176-204
Electrons
X-rays
Elastic
1
Inelastic
19
:
Elastic
1
Inelastic
4
:

## Slide 5
50 μm
Light microscope
CryoSEM at 2 keV

## Slide 6
Slide courtesy of T. Gruene

## Slide 7
X-rays
Electrons
Electron density
Electrostatic scattering potential

## Slide 8
Electrons
4.0
2.0
0.0
30.0
20.0
0.0
10.0
Atomic scattering amplitude (Å)
Atomic scattering amplitude (Å)
Resolution-1 (Å-1)
0.0
0.1
0.2
0.3
0.4
0.5
0.0
0.1
0.2
0.3
0.4
0.5
X-rays
Atomic scattering factor (electrons)
Atomic scattering factor (electrons)
30.0
20.0
0.0
10.0
8.0
4.0
0.0
Resolution-1 (Å-1)
0.0
0.1
0.2
0.3
0.4
0.5
0.0
0.1
0.2
0.3
0.4
0.5
Yonekura et al. 2015. PNAS, 112(11):3368-3373

## Slide 9
30.0
20.0
0.0
10.0
Atomic scattering amplitude (Å)
0.0
0.1
0.2
0.3
0.4
0.5
Refine using 8.0 -3.4 Å data
4.0 σ
3.9 σ
Heme binding site of bovine liver catalase
Yonekura et al. 2015. PNAS, 112(11):3368-3373

## Slide 10: Electron diffraction from 3D protein crystals
The benefits of using electrons
Sample preparation
Microscope setup and practical considerations
Research: Focused ion beam milling of crystals

## Slide 11
Support film
Grid
3 mm

## Slide 14
5 μm
20 μm
50 nm
Proteinase K nanocrystals

## Slide 15: Electron diffraction from 3D protein crystals
The benefits of using electrons
Sample preparation
Microscope setup and practical considerations
Research: Focused ion beam milling of crystals

## Slide 16
GUN
CONDENSER
OBJECTIVE
PROJECTOR
DETECTOR

## Slide 17
Objective lens
Image plane

## Slide 18
Objective lens
Back focal plane
Image plane

## Slide 20
Nannenga et al. 2014. Nature Methods, 11(9):927-930
~ 30-40 degrees of data per crystal
CetaD detector, 1 s, 0.5°, 0.05 e/Å2/s

## Slide 21
Nannenga et al. 2014. Nature Methods, 11(9):927-930

## Slide 22
EIGER
  Tinti et al. 2018, IUCrJ, 5:190-199
Medipix
  Nederlof et al. 2013, Acta D, 69(7):1223-1230
Timepix
  Van Genderen et al. 2016, Acta A, 72:236-242
  Clabbers et al. 2017, Acta D, 73(9):738-748
Faruqi and McMullan 2011. Quarterly Reviews of Biophysics, 44(3):357-390
Hybrid pixel array detectors
High dynamic range
Fast frame rates
Radiation hard

## Slide 23
Direct Electron Detectors
Monolithic active pixel sensor (MAPs)
CMOS detectors
Used for imaging – concerns over damage from direct beam or high intensity diffraction spots at low resolution
Falcon III – Hattne et al., 2019, 6(5):921-926
K2 (K3?) – Gonen lab, unpublished
Ceta, CetaD
Several examples
Comparatively poor sensitivity (low signal to noise)
Comparatively poor dynamic range
Usually present in cryoTEM, fewer concerns about damage!

## Slide 24
Nannenga and Gonen, 2014. Curr. Opin. Struct. Biol. 27:24-31
X-rays
12 keV, λ = 1.0332 Å
Electrons
200 kV, λ = 0.025 Å

## Slide 25
Adapted from Clabbers and Abrahams 2018. Crystallography Reviews, 24(3):176-204
For a 1 Å reflection
X-rays
(12 keV)
Electrons
(200 keV)

## Slide 26
Camera length (detector distance)
Courtesy T. Gruene
Detector distance set through electron optics
Detector not physically moved
Camera lengths for proteins: 1000 mm – 2500 mm
1350 mm
2200 mm
850 mm
2.34 Å

## Slide 27
Crystal lattice
Incident beam
Kinematically scattered
Dynamically
scattered

## Slide 28
Simulated diffraction pattern based on X-ray structure
Electron diffraction pattern
Weirich et al., 2000. Acta A, 56(1):29-35

## Slide 29
Structure solution and refinement
Currently, all protein macromolecules phased by molecular replacement
Several peptides phased ab initio (>1.2Å resolution)
Refinement using electron scattering factors

## Slide 30: Electron diffraction from 3D protein crystals
The benefits of using electrons
Sample preparation
Microscope setup and practical considerations
Research: Focused ion beam milling of crystals

## Slide 31
100 μm
100 µm
Too thick for electron diffraction?
Too small for current microfocus beamlines?
Too few for XFEL?
Want to determine electrostatic scattering potential?

## Slide 33
Lamella
Area to be milled
3 μm lamella
Area to be milled

## Slide 34
Proteinase K lamella, ~ 200 nm thick
0.04 e-/Å2/s, total dose ~5.5 e-/Å2
Continuous rotation
CetaD
2.0 Å
10 µm

## Slide 35
Structure solution | Proteinase K Lamella (1 crystal, 2 datasets)
Translation-function Z-score | 59.3
LLG score | 6312.479
Refinement | 
Resolution range (Å) | 56.98 - 2.01
R (%) | 19.40
Rfree (%) | 22.68
RMSD bonds | 0.002
RMSD angles | 0.500
⟨B⟩ (Å2) | 16.44
Ramachandran plot | 
Favoured (%) | 97.11
Allowed (%) | 99.64
Outliers (%) | 0.36

## Slide 36
Diamond Light Source Ltd.
David Stuart
Gwyndaf Evans
José Trincão John Beale
eBIC
Peijun Zhang
Corey Hecksel
Jason van Rooyen
James Gilchrist
Yun Song
STRUBI, University of Oxford
Helen Ginn
Helen Duyvesteyn
ThermoFisher Scientific
Felix de Haas
Bart Buijsse
Abhay Kotecha
DIALS
David Waterman
James Parkhurst
Stanford University
Wah Chiu
Acknowledgements